## Inglês
COMPARATIVE RDC 166/2017 X CP 1391/2026 X ICH Q2(R2)
| RDC 166 | CP 1391 | ICH Q2(R2) | COMMENTS
| RESOLUÇÃO DA DIRETORIA COLEGIADA - RDC Nº 166, DE 24 DE JULHO DE 2017 | CP 1.391 25/03/2026 | ICH Q2(R2) provides guidance on selection and evaluation of the various validation tests for analytical procedures.
| Provides for the validation of analytical methods and establishes other provisions. | Provides for the validation of analytical procedures and establishes other provisions.
CHAPTERS | RDC 166/2017
CHAPTER I INITIAL PROVISIONS | Art. 1 The present Resolution establishes criteria for validation of analytical methods. Sole paragraph. The noncompliance with any criterion provided in this Resolution should be technically justified and will be the subject of analysis by Anvisa. | Art. 1 The present Resolution establishes criteria for validation of analytical methods. | 1 INTRODUCTION 1.1 Objective This guideline presents elements for consideration during the validation of analytical procedures included as part of registration applications. (...) | 2 GENERAL CONSIDERATIONS FOR ANALYTICAL PROCEDURE VALIDATION (...) Approaches other than those set forth in this guideline may be applicable and acceptable with appropriate science-based justification. The applicant is responsible for designing the validation studies and protocol most suitable for their product.
| Art. 2 This resolution is applicable to analytical methods employed in pharmaceutical ingredients, medicinal products, and biological products in all the stages of production. 1st Parag. The validation parameters and their respective acceptance criteria should be defined according to the characteristics of the analyte and nature of the method. 2nd Parag. Analytical methods applied to products under investigation used in clinical trials must have their suitability demonstrated in accordance with this Resolution, as applicable to each phase of clinical development. I - The use of alternative approaches should be technically justified based on recognized scientific references. 3rd Parag. The use of alternative approaches for validation of analytical methods applied to biological products, such as biological and immunological assays will be permitted. 4th Parag. From this Resolution are excluded the microbiological methods for which technical justification must be provided for the chosen approach, based on the Brazilian Pharmacopoeia or other official compendia recognized by Anvisa. | Art. 2 This resolution is applicable to analytical procedures employed in API, drug products, and biological products for release and stability testing. 1st Parag. The validation parameters and their respective acceptance criteria should be defined according to the characteristics of the analyte and nature of the procedure. 2nd Parag. Analytical procedures applied to products under investigation used in clinical trials must have their suitability demonstrated in accordance with this Resolution, as applicable to each phase of clinical development. 3rd Parag. This Resolution may also apply to other analytical procedures used as part of a control strategy following a risk-based approach or specific regulation. | 1.2 Scope This guideline applies to analytical procedures used for release and stability testing of commercial drug substances and products, hereafter referred to as ‘products’. The guideline can also be applied to other analytical procedures used as part of the control strategy (ICH Q10 Pharmaceutical Quality System) following a risk-based approach. The scientific principles described in this guideline can be applied in a phase-appropriate manner to analytical procedures used during clinical development. The guideline is directed to common uses of analytical procedures, such as assay, potency, purity, impurity (quantitative or limit test), identity or other quantitative or qualitative measurements. | Despite differences in wording between RDC 166, CP 1391, and ICH Q2(R2), the underlying regulatory rationale remains aligned. CP 1391 brings the scope closer to the ICH wording by focusing on analytical procedures used for release and stability testing, while ICH allows alternative approaches with appropriate scientific justification, which accommodates methods applied to biological products. The absence of an explicit reference to microbiological methods in ICH Q2(R2) reflects the fact that such methods are generally addressed in other guidelines and compendia, and therefore does not necessarily represent a conceptual divergence from RDC 166.
| Section III - Definitions Art. 3 For the purpose of this Resolution, the following definitions will be adopted: | Section III - Definitions Art. 3 For the purpose of this Resolution, the following definitions will be adopted: | 4 GLOSSARY | The glossary of RDC 166 is broader and includes general quality control and reference standard concepts, while the ICH Q2(R2) glossary focuses specifically on analytical procedure validation and introduces additional terminology related to modern analytical modeling and lifecycle management.
| I – Sample: a representative quantity of pharmaceutical input, intermediate product, or finished product, duly identified and within the established shelf life. | I – suitability of the analytical procedure: demonstration that the analytical procedure produces reliable results and is appropriate for its intended purpose, in a documented manner and based on objective criteria. | Section 1.1 Objective The objective of validation of an analytical procedure is to demonstrate that the analytical procedure is fit for the intended purpose. | sample - Used throughout the guideline (implicit concept)
| II – Analyte: a substance or group of substances of interest intended to be identified or quantified. | II – Analyte: a substance or group of substances of interest intended to be identified or quantified. |  | analyte - Appears in definitions such as detection limit, response, etc.
| III.- characterization of a chemical substance: it is the set of trials that unequivocally ensure a substance’s authenticity and quality, regarding identity, purity, content and power, and must include data obtained from techniques that are applicable to each substance such as thermogravimetry, fusion point, differential exploratory calorimetry, infrared spectroscopy, mass spectrometry, nuclear magnetic resonance, elemental analysis (carbon/hydrogen/nitrogen), X-ray diffraction, optical rotation, chromatography assays, among others | III – performance characteristics: description of a parameter that, regardless of the technology used, ensures the quality of the measured result. Typically, accuracy, precision, specificity/selectivity, and range are considered performance characteristics. | PERFORMANCE CRITERION An acceptance criterion describing a numerical range, limit or desired state to ensure the quality of the measured result for a given performance characteristic. (ICH Q14) | Addressed in ICH Q6A/Q6B, not in Q2 Characterization is a recurrent topic in regulatory deficiency letters and should therefore be discussed during the public consultation to clarify how Anvisa intends to address this requirement. Although there is correspondence with concepts described in ICH guidelines, once RDC 166 is revoked there will no longer be an explicit provision for this requirement in Brazilian regulation. Clarification would be important to ensure alignment between the expectations of Anvisa and internationally accepted practices.
| IV.- analytical run: set of measurements of a group of samples in a pre-determined time interval, under the same conditions of repeatability, such as method, analyst, instrumentation, site, and usage conditions; | IV – specificity/selectivity: specificity and selectivity are terms that describe the extent to which other substances interfere with the determination of an analyte according to a given analytical procedure. Specificity is generally used to describe the final state, where the desired analyte is measured unequivocally. Selectivity is a relative term used to describe the extent to which specific analytes in mixtures or matrices can be measured without interference from other components with similar behavior. | SPECIFICITY/SELECTIVITY Specificity and selectivity are both terms to describe the extent to which other substances interfere with the determination of an analyte according to a given analytical procedure. Specificity is typically used to describe the ultimate state, measuring unequivocally a desired analyte. Selectivity is a relative term to describe the extent to which particular analytes in mixtures or matrices can be measured without interferences from other components with similar behaviour. (ICH Q2) | analytical run - Concept used in validation experiments
| V – Matrix effect: the effect of matrix components on the analytical response. | V – accuracy: the accuracy of an analytical procedure expresses the closeness of agreement between the measured value or set of measured values and the value accepted as a conventional true value or a reference value. | ACCURACY The accuracy of an analytical procedure expresses the closeness of agreement between the value which is accepted either as a conventional true value or as an accepted reference value and the value or set of values measured. (ICH Q2) | matrix effect - Addressed when evaluating specificity/selectivity
| VI – Assay/Test: a technical operation consisting of the determination of one or more characteristics of a given input or product according to a specified method. | VI – range: the range of an analytical procedure is the interval between the lowest and highest result for which the analytical procedure demonstrates an adequate level of precision, accuracy, and response. | RANGE The range of an analytical procedure is the interval between the lowest and the highest results in which the analytical procedure has a suitable level of precision, accuracy and response. (ICH Q2) REPORTABLE RANGE The reportable range of an analytical procedure includes all values from the lowest to the highest reportable result for which there is a suitable level of precision and accuracy. Typically, the reportable range is given in the same unit as the specification acceptance criterion. (ICH Q2) WORKING RANGE A working range corresponds to the lowest and the highest level of the quality attribute to be measured (e.g., content or purity) as presented to the analytical instrument and for which the analytical procedure provides reliable results. (ICH Q2) | assay - General analytical procedure concept
| VII – Limit test: tests that verify whether the amount of analyte is above or below a previously established level without quantifying it accurately. | VII – detection limit: the detection limit is the lowest amount of an analyte in a sample that can be detected but not necessarily quantified as an exact value. | DETECTION LIMIT (DL) The detection limit is the lowest amount of an analyte in a sample which can be detected but not necessarily quantitated as an exact value. (ICH Q2) | limit test - Mentioned as a type of analytical determination
| VIII – Response factor: the ratio between the analytical signal and the analyte concentration. | VIII – quantification limit: the quantification limit is the lowest amount of analyte in a sample that can be quantitatively determined with suitable precision and accuracy. The quantification limit is a parameter used for quantitative tests of analytes at low concentrations in samples and is particularly applied to the determination of impurities and/or degradation products. | QUANTITATION LIMIT (QL) The quantitation limit is the lowest amount of analyte in a sample which can be quantitatively determined with suitable precision and accuracy. The quantitation limit is a parameter used for quantitative assays for low levels of compounds in sample matrices, and, particularly, is used for the determination of impurities and/or degradation products. (ICH Q2) | Response factor and relative response factor are defined in RDC 166 but are not explicitly defined in ICH Q2(R2); the guideline only defines “response”, which refers to the relationship between the analytical signal and analyte concentration.
| IX – Relative response factor: the ratio between two response factors used as a correction in the calculation of the concentration of a substance when it is measured through the analytical response of another substance. | IX – linearity: the ability of the analytical procedure to obtain analytical responses that are directly proportional to the concentration of an analyte in a sample. | 3.2.2.1 Linear Response A linear relationship between analyte concentration and response should be evaluated across the range of the analytical procedure to confirm the suitability of the procedure for the intended purpose. | Relative Response Factor (RRF) is a correction factor used to adjust differences in detector response between the analyte and other substances, ensuring accurate quantification in chromatographic methods, particularly for impurities.
| X – Quality management: the system that determines the implementation of the “Quality Policy,” meaning the overall intentions and guidelines related to quality formally expressed and authorized by the company’s top management. | X – precision: the precision of an analytical procedure expresses the closeness of agreement (degree of dispersion) among a series of measurements obtained from multiple samplings of the same homogeneous sample under previously defined conditions. Precision may be considered at three levels: repeatability, intermediate precision, and reproducibility. | PRECISION The precision of an analytical procedure expresses the closeness of agreement (degree of scatter) between a series of measurements obtained from multiple samplings of the same homogeneous sample under the prescribed conditions. Precision can be considered at three levels: repeatability, intermediate precision and reproducibility. The precision of an analytical procedure is usually expressed as the variance, standard deviation or coefficient of variation of a series of measurements. (ICH Q2) REPEATABILITY Repeatability expresses the precision under the same operating conditions over a short interval of time. Repeatability is also termed intra-assay precision. (ICH Q2) INTERMEDIATE PRECISION Intermediate precision expresses intra-laboratory variations. Factors to be considered should include potential sources of variability, for example, different days, different environmental conditions, different analysts and different equipment. (ICH Q2) REPRODUCIBILITY Reproducibility expresses the precision between laboratories (e.g., inter-laboratory studies, usually applied to standardisation of methodology). (ICH Q2) | Quality management - Covered by ICH Q10, not Q2
| XI – Impurities: any component present in the pharmaceutical input or finished product that is neither the active pharmaceutical ingredient nor the excipient(s). | XI – analytical procedure: the way an analysis is performed, including a description of the steps necessary to conduct each analytical test with a level of detail that allows a qualified analyst to perform the analysis and interpret the results. | ANALYTICAL PROCEDURE The analytical procedure refers to the way of performing the analysis. The analytical procedure should describe in sufficient detail the steps necessary to perform each analytical test. (ICH Q2) | Impurities - Used in impurity testing contexts
| XII – Pharmaceutical input: any substance that composes the formulation of a pharmaceutical dosage form. | XII – response: the response of an analytical procedure is its ability (within a given range) to obtain a signal that is effectively related to the concentration (amount) or activity of the analyte in the sample through a known mathematical function. | RESPONSE The response of an analytical procedure is its ability (within a given range) to obtain a signal which is effectively related to the concentration (amount) or activity of analyte in the sample by some known mathematical function. (ICH Q2) | Pharmaceutical input - Standard ICH terminology
| XIII – Active pharmaceutical ingredient (API): a pharmaceutical input that, when administered to a patient, acts as an active component and may exert pharmacological activity or a direct effect in the diagnosis, cure, treatment, or prevention of a disease, or may affect the structure and functioning of the human body. | XIII – robustness: the robustness of an analytical procedure is a measure of its capacity to meet the expected performance criteria during normal use. Robustness is tested through deliberate variations in the parameters of the analytical procedure. | ROBUSTNESS The robustness of an analytical procedure is a measure of its capacity to meet the expected performance criteria during normal use. Robustness is tested by deliberate variations of analytical procedure parameters. (ICH Q14) | API - Defined across ICH quality guidelines
| XIV – Complex matrix: a matrix that contains an indefinite number of unmonitored substances that cannot be obtained without the presence of the analyte. | XIV – test: a technical operation consisting of the determination of one or more characteristics of a given ingredient or product according to a specified analytical procedure. | VALIDATION TEST Validation tests are deliberate experiments designed to authenticate the suitability of an analytical procedure for the intended purpose. (ICH Q2) | Complex Matrix - Concept addressed in selectivity discussions
| XV – Matrix: a composition that mimics the sample without the presence of the analyte. | XV – procedure transfer: a documented process that qualifies a laboratory (receiving unit) to use an analytical method originating from another laboratory (transferring unit), ensuring that the receiving unit has the knowledge and capability to execute the analytical method according to its intended purpose. | CO-VALIDATION Demonstration that the analytical procedure meets its predefined performance criteria when used at different laboratories for the same intended purpose. Co-validation can involve all (full revalidation) or a subset (partial revalidation) of performance characteristics potentially impacted by the change in laboratories. (ICH Q2) | Matrix - Concept addressed in selectivity discussions
| XVI – Investigational products: an investigational medicinal product, placebo, active comparator, or any other product to be used in the clinical trial. | XVI – full validation: the systematic evaluation of a method through experimental testing in order to confirm and provide objective evidence that the specific requirements for its intended use are met. | VALIDATION STUDY An evaluation of prior knowledge, data or deliberate experiments (i.e., validation tests) to determine the suitability of an analytical procedure for the intended purpose. (ICH Q2) | Investigational products - Addressed in ICH E6, not Q2
| XVII – Chromatographic purity: absence of interference in the chromatographic signal of the analyte. | XVII – partial validation: demonstration, through specific performance characteristics, that a previously validated analytical method retains the necessary characteristics to produce results with the required quality under the conditions in which it is applied. | REVALIDATION Demonstration that an analytical procedure is still fit for the intended purpose after a change to the product, process or the analytical procedure itself. Revalidation can involve all (full revalidation) or a subset (partial revalidation) of performance characteristics. (ICH Q2) | Purity - evaluation of interference (selectivity)
| XVIII.- peak purity: spectral homogeneity of a chromatographic peak, indicating its chromatographic purity, with the criteria to conclude whether there is spectral homogeneity and the parameters adopted for the purity calculation are defined as previously established for the software used or by means of a technical evaluation that is scientifically based |  |  | spectral purity - used to demonstrate specificity
| XIX.- validation report: document in which the procedures, registrations and validation evaluation are consolidated and summarized |  |  | Validation report - Mentioned in validation sections
| XX – Analytical method revalidation: partial or complete repetition of the validation of an analytical method to ensure that it continues to meet the established requirements. |  |  | Revalidation - mentioned in the Glossary
| XXI – Reference chemical substance (RCS): a substance or mixture of chemical or biological substances with a high degree of purity, carefully characterized to ensure its identity, quality, content, and potency, including characterized reference chemical substances and pharmacopoeial reference chemical substances. |  |  | RCS - Pharmacopeial concept
| XXII – Characterized reference chemical substance (CRS): a substance or mixture of chemical or biological substances in which identity, quality, purity, content, and potency have been ensured through a characterization process. |  |  | CRS - Pharmacopeial concept
| XXIII – Pharmacopoeial reference chemical substance (PRS): a substance or mixture of chemical or biological substances established and distributed by official compendia recognized by Anvisa. |  |  | PRS - Pharmacopeial concept
| XXIV – Working reference substance (WRS): a substance or mixture of chemical or biological substances used in routine laboratory work, standardized against a pharmacopoeial reference chemical substance or, in the absence of such, against a characterized reference chemical substance, and traceable to the reference chemical substance used for its standardization. |  |  | WRS - Common international laboratory practice
| XXV – Method transfer: a documented process that qualifies a laboratory (receiving unit) to use an analytical method originating from another laboratory (transferring unit), ensuring that the receiving unit has the knowledge and capability to perform the analytical method according to the intended purpose. |  |  | Transfer - mentioned in the Glossary
| XXVI – Analytical validation: the systematic evaluation of a method through experimental tests to confirm and provide objective evidence that the specific requirements for its intended use are fulfilled. |  |  | Analytical Validation - Mentioned in validation sections
| XXVII – Partial validation: demonstration, through selected validation parameters, that a previously validated analytical method has the necessary characteristics to produce results with the required quality under the conditions in which it is performed. |  |  | Partial validation - mentioned in the Glossary
| XXVIII – System suitability: a procedure to be performed prior to an analytical run to demonstrate that the system is suitable for its intended use, with the parameters of this procedure defined during method development and validation. |  |  | SS - Mentioned in analytical procedure discussions
CHAPTER II GENERAL PROVISIONS | Art. 4 Validation should demonstrate that the analytical method produces reliable results and is suitable for the intended purpose, in a documented form and using objective criteria. | Art. 4 Validation should demonstrate that the analytical method produces reliable results and is suitable for the intended purpose, in a documented form and using objective criteria. | The objective of validation of an analytical procedure is to demonstrate that the analytical procedure is fit for the intended purpose. Further general guidance is provided on validation studies for analytical procedures. A validation study is designed to provide sufficient evidence that the analytical procedure meets its objectives. The validation study should be documented. Relevant data collected during validation (…) should be submitted to demonstrate the suitability of the procedure for the intended purpose. | ICH Q2(R2) does not explicitly use the term “reliable results”, but the concept is reflected through the requirement that the analytical procedure demonstrate acceptable performance characteristics (e.g., response, accuracy and precision) and suitability for the intended purpose based on validation data. ANVISA has historically been criticized by multinational companies and the pharmaceutical sector for requesting raw data or extensive supporting information to demonstrate the adequacy of analytical validation. However, within the CTD structure, the expectation is typically the submission of summarized validation results, rather than full datasets. Under the updated framework aligned with ICH Q2(R2), a key implementation question will be whether ANVISA will accept summary-level validation data consistent with CTD practices, or whether it will continue to require the submission of complete validation protocols and reports to support the registration of medicinal products.
|  | Art. 5. The typical performance characteristics to be considered for validation are specificity/selectivity, range (response, limit of detection and limit of quantification), accuracy and precision. § 1. The performance characteristics that must be evaluated in the validation of a specific analytical procedure shall be selected based on the objectives of the procedure and on the characteristics of the analytical technique employed. § 2. The evaluation of robustness is part of the development data for an analytical procedure and must be made available upon request by ANVISA. § 3. System suitability tests are an integral part of analytical procedures, generally established during their development phase, and are subject to evaluation by ANVISA. | 2 GENERAL CONSIDERATIONS FOR ANALYTICAL PROCEDURE VALIDATION (...) In practice, the experimental work can be designed so that the appropriate performance characteristics are considered simultaneously to provide sound, overall knowledge of the performance of the analytical procedure, for instance: specificity/selectivity, accuracy, and precision over the reportable range. As described in ICH Q14, the system suitability test (SST) is an integral part of analytical procedures and is generally established during development as a regular check of performance. Robustness is typically evaluated as part of development prior to the execution of the analytical procedure validation study (ICH Q14). Finally, the analytical procedure validation strategy is developed based on knowledge of the analytical procedure and the intended purpose. This includes the required analytical procedure performance to ensure the quality of the measured result (ICH Q14). If successfully executed, the analytical procedure validation strategy will demonstrate that the analytical procedure is fit for the intended purpose.
| Art. 5 The use of an analytical method not described in an official compendium recognized by Anvisa requires an analytical validation, according to parameters established in this resolution, taking into account the technical and operational conditions. | Art. 6 The use of an analytical procedure not described in an official compendium recognized by Anvisa requires the performance of an analytical validation, considering the performance characteristics appropriate to the technical and operational conditions. |  | While Anvisa indicates alignment with ICH principles regarding how analytical validation should be performed, the circumstances under which validation becomes mandatory remain a local regulatory requirement. Specifically, the article establishes that when an analytical procedure is not described in an official compendium recognized by Anvisa, full analytical validation must be performed considering the appropriate performance characteristics. This concept is not addressed in ICH guidelines, which do not define regulatory triggers for validation based on the adoption or absence of compendial methods. Therefore, clarification would be important to understand how Anvisa intends to apply this requirement under the new framework, particularly in situations where companies adopt internationally recognized compendial procedures or alternative methods validated according to ICH principles.
| Art. 6 The typical parameters to be considered for the validation depend on the test to be performed and they are provided in Table 1 of Annex I. |  | Please see Table 1 Typical performance characteristics and related validation tests for measured quality attributes
| Art. 7 The compendial analytical methods should have their suitability demonstrated to the intended use, under the operating conditions of the laboratory, through submission of a partial validation study. Sole paragraph. The provision of the caput excludes the basic general compendial methods such as pH measure, loss on drying, sulphated ash, moisture, disintegration, among other, and the analytical methods described in compendial individual monographs of non-active pharmaceutical ingredients. |  |  | Although the requirements described in §§2 and 3 for impurity quantification methods (evaluation of the limit of quantification) and limit tests (evaluation of selectivity and limit of detection) are consistent with the principles described in ICH guidelines, the provision that compendial analytical procedures must undergo a partial validation study to verify suitability for the intended use is not explicitly described in ICH. In the ICH framework, pharmacopoeial methods are generally considered already validated by the compendial authority, and laboratories typically demonstrate method suitability or verification rather than performing a formal partial validation. Therefore, the requirement established in Article 7 may introduce an additional local expectation that differs from common international practice. For this reason, this article would benefit from further clarification during the public consultation, particularly regarding the extent of data expected to demonstrate suitability when adopting compendial methods under laboratory-specific conditions.
| Art. 8 The partial validation should assess, at least the parameters of precision, accuracy and selectivity. 1st Parag. In the case of analytical methods intended for quantification of impurities, the partial validation should include the limit of quantification. 2nd Parag. In the case of limit test, replacing the parameters of the caput, the parameters of selectivity and detection limit should be assessed. | § 2. In the case of analytical procedures intended for the quantification of impurities, partial validation must include the limit of quantification. § 3. In the case of a limit test, selectivity and the limit of detection must be evaluated.
| Art. 9 In the case of method transfer between labs, it will be assumed as validated, provided a partial validation study is carried out at the facilities of the receiving lab. 1st Parag. The method transfer between labs with the same quality management system can be accomplished through a partial validation study, pursuant to art. 8, or using the evaluation of reproducibility. 2nd Parag. Another approach can be accepted, upon justification and submission of a transfer protocol and report, based on a risk analysis and taking into account the previous experience, knowledge of the receiving unit, complexity of the product, and the method and specifications, as well as other relevant applicable aspects. 3rd Parag. If the transfer also uses comparative tests, the similarity in the results should be proven by means of a statistical tool. 4th Parag. Documentation of the transfer method should be submitted with a copy of the validation report of the transferred method, as an evidence that it was originally validated in accordance with specific rules and regulations approved/consented by Anvisa. 5th Parag. In the case of transfer of methods already approved by Anvisa, a copy of the approved validation report or indication of the petition filing number by which the final version of the cited report was filed should be submitted. | Art. 8. Whenever modifications occur in an already validated analytical procedure, or when there is a transfer between laboratories, a partial or full validation must be performed. Sole paragraph. The extent of the validation depends on the performance characteristics affected by the modification, and it must ensure that the analytical procedure continues to meet the requirements necessary for its intended purpose. | 2.1 Analytical Procedure Validation Study (...) The validation study should be documented. Prior to the validation study, a validation protocol should be generated. The protocol should contain information about the intended purpose of the analytical procedure, the performance characteristics to be validated and the associated criteria. In cases where prior knowledge is used (e.g., from development or from previous studies), appropriate justification should be provided. The results of the validation study should be summarised in a validation report. (...) 2.2 Validation During the Lifecycle of an Analytical Procedure Changes may be required during the lifecycle of a validated analytical procedure. In such cases, partial or full revalidation may be required. Science and risk-based principles can be used to justify whether or not a given performance characteristic needs revalidation. The extent of revalidation depends on the performance characteristics impacted by the change. Transfer of a validated analytical procedure should be considered in the context of analytical lifecycle changes in line with ICH Q14. When transferring analytical procedures to a different laboratory, a partial or full revalidation of the analytical procedure performance characteristics and/or comparative analysis of representative samples should be performed. Justification for not performing additional transfer experiments should be provided if appropriate. Co-validation can be used to demonstrate that the analytical procedure meets predefined performance criteria by using data generated at multiple sites and could also satisfy the requirements of analytical procedure transfer at the participating sites. | RDC 166 adopts a more prescriptive approach to analytical method transfer, requiring detailed elements such as comparative statistical studies, submission of transfer protocols and reports, and evidence of the original validation. In contrast, ICH Q2(R2) addresses method transfer within the analytical procedure lifecycle, indicating that partial or full revalidation and/or comparative analysis of representative samples may be required, depending on the performance characteristics affected by the change. The guideline does not prescribe specific operational steps, allowing a science- and risk-based approach to the design of transfer studies. The CP 1391 proposal reflects this shift, simplifying the RDC structure and aligning with the ICH model by focusing on the principle that the extent of validation depends on the performance characteristics impacted by the modification or transfer. Under ICH principles, analytical method transfer does not necessarily require repeating all validation characteristics. Precision is commonly used to demonstrate method performance at the receiving laboratory, provided that a risk-based justification confirms that other performance characteristics are not impacted.
| Art. 10. A revalidation of an analytical method may consider the following circumstances: I.- changes in the synthesis or obtainment of the API; II.- changes in composition of the product; III.- changes in the analytical method; and IV.- other changes that may significantly impact the validated method. Sole paragraph. The validation parameters to be evaluated will depend on the nature of the performed changes. |  |  | The circumstances described in RDC 166 Art. 10 may be directly triggered by post-approval changes regulated under RDC 73, such as modifications in API manufacturing, product composition, analytical methods, or manufacturing processes, which may require analytical method revalidation depending on their impact on method performance.
Art. 9. The validation of analytical procedures used for active pharmaceutical ingredients, medicines, and biological products must follow Guide XX of XXXX – Validation of Analytical Procedures – Q2(R2) and its updates. Sole paragraph. Alternative approaches to those set out in the aforementioned guide are permitted, provided that they are justified and compatible with the regulatory support required for the specific case.
|  | Art. 10. Reference materials, or other appropriately characterized materials, with documented identity, purity, or any other necessary characteristics, must be used in validation studies. Art. 11. Additional documentation and tests may be requested by ANVISA at any time | 2 GENERAL CONSIDERATIONS FOR ANALYTICAL PROCEDURE VALIDATION (...) Reference materials, or other suitably characterised materials, with documented identity, purity, or any other characteristics as necessary, should be used in the validation study. | The current wording of Article 11 is very broad and may create regulatory uncertainty, as it does not specify the circumstances under which additional documentation or studies may be requested. It would be beneficial to clarify that such requests should be scientifically justified and based on the evaluation of the submitted data, consistent with the risk-based principles adopted in ICH guidelines. Suggestion: ANVISA may request additional data or studies, when scientifically justified based on the evaluation of the submitted documentation, in order to confirm that the analytical procedure is suitable for its intended purpose
| Art. 11 A system check of each analytical run should be performed. Art. 12 The validation and partial validation documents submitted should describe the procedures, analytical parameters, acceptance criteria and results, with enough detailing to enable their reproduction and, when applicable, their statistical evaluation. Art. 13 The validation report to be filed, in compliance to registration and post-registration resolutions, should contain the data and calculations obtained during conduction of the analytical validation, as well as the statistical approach used for evaluation of the data. 1st Parag. The raw data related to the selectivity parameter should be part of the report mentioned in the caput. 2nd Parag. The raw data related to the other parameters should be available at the company for evaluation upon request of Anvisa. |  | 2 (...) the system suitability test (SST) is an integral part of analytical procedures and is generally established during development as a regular check of performance. 2.1 (...) The validation study should be documented. Prior to the validation study, a validation protocol should be generated. The protocol should contain information about the intended purpose of the analytical procedure, the performance characteristics to be validated and the associated criteria (...) The results of the validation study should be summarised in a validation report. | Although Articles 11–13 of RDC 166 are not explicitly reproduced in the draft CP, their underlying concepts remain aligned with ICH Q2(R2). The guideline addresses system suitability as an integral part of the analytical procedure, requires the generation of a validation protocol defining performance characteristics and acceptance criteria, and states that validation results should be documented in a validation report demonstrating the suitability of the analytical procedure for its intended purpose.
CHAPTER III CHEMICAL REFERENCE SUBSTANCES | Art. 14 For validation of analytical methods, the Pharmacopeial Chemical Reference Substance (PCS), officialized by the Brazilian Pharmacopeia, should be preferably used, or by other officially compendia recognized by Anvisa. 1st Parag. The use of the Characterized Chemical Reference Substance (CCS) will be admitted upon submission of a conclusive characterization report for the study batch, including the technical reasons for choice of the used tests and the relevant raw data. 2nd Parag. Anvisa and the members of the National Health Surveillance System may request samples of the CCS for purposes of assessing the process of characterization in the cases of the previous paragraph and, when required for fiscal analysis, a CCS sample for the needed tests should be provided. |  | The reference material used in validation should be appropriate to ensure reliable evaluation of the analytical procedure. REFERENCE MATERIAL A suitably characterised material, sufficiently homogeneous and stable with regard to one or more defined attributes, which has been established to be fit for the intended purpose. Reference materials may include national/international reference standards, pharmacopoeial reference standards, or in-house primary/secondary reference materials. (ICH Q2) | Article 14 of RDC 166 establishes a specific regulatory framework for the use of reference standards in analytical method validation, prioritizing pharmacopeial chemical reference substances and allowing characterized chemical reference substances only when supported by a comprehensive characterization report and raw data. This requirement is more prescriptive than the ICH Q2(R2) guideline, which does not define a hierarchy of reference standards but assumes that the reference material used is suitable for the intended purpose.
| Art. 15 The characterization report, depending on the analyte, should contain the data obtained from techniques applicable to characterize each chemical substance such as, for example, thermogravimetry, melting point, differential scanning calorimetry, infrared spectroscopy, mass spectrometry, nuclear magnetic resonance, elemental analysis (carbon/hydrogen/nitrogen), x-ray diffraction, optical rotation, chromatographic methods, among other methods. 1st Parag. In addition to the data of characterization, the following information must be included in the report: I.- number and shelf life of the batch of substance used in the characterization; II.- common Brazilian name or international non-proprietary name; III.- CAS no.; IV.- chemical name; V.- synonymy; VI.- molecular and structural formula; VII.- molecular weight; VIII.- physical form; IX.- physicochemical properties; X.- profile of impurities; XI.- handling and storage care; and XII.- analytical report proving the identity, content and shelf life of the CCS. 2nd Parag. For biological products, the characterization of the material/reference standard should be performed using appropriate state-of-the-art methods. |  |  | Article 15 of RDC 166 establishes detailed requirements for the characterization of chemical reference substances (CCS), including analytical techniques and comprehensive physicochemical information. This provision does not have a direct equivalent in ICH Q2(R2) or Q14, as the ICH guidelines focus on analytical procedure validation rather than the characterization of reference standards. Therefore, this article represents a national regulatory requirement that remains outside the scope of the proposed revision aligned with ICH principles.
| Art. 16 For medical gases, the analytical verification of instruments and analytical determinations should be conducted using traceable reference materials distributed by metrology institutes or by bodies recognized as producers of certified reference materials. Sole paragraph. In the absence of reference materials, internal standards produced according to guides and bibliographic reports can be used. Art. 17 For biological products, the terms material/standard replace the term chemical substance in the definitions of CRS, PCS, CCS, and WCS. Art. 18 Use of WCS for analytical method validation purposes is not allowed. |  |  | This situation may represent a relevant regulatory challenge for multinational companies submitting analytical validation data in marketing authorization applications. While many global development programs follow ICH principles, which focus primarily on the performance characteristics of the analytical method, RDC 166 establishes additional national requirements related to the characterization, traceability, and type of reference standards used during validation. If the submitted documentation does not demonstrate compliance with these specific provisions, particularly those related to the characterization and acceptability of reference materials, the analytical validation package may be considered incomplete by the Brazilian authority. As a result, companies relying exclusively on ICH-based documentation may face regulatory questions or even rejection of the validation data unless the dossier is adapted to address the expectations defined in RDC 166.
CHAPTER IV ANALYTICAL VALIDATION PARAMETERS Selectivity | Art. 19 Selectivity of the analytical method should be demonstrated through its ability to identify or quantify unequivocally the analyte of interest, in the presence of components which may be present in the sample, such as impurities, diluents, and components of the matrix. Sole paragraph. In the case of chromatography methods, the chromatographic purity of the analyte signal, except for biological products, must be proven. Art. 20 For the methods of identification, their ability to obtain a positive result for the sample containing the analyte and a negative one for the other substances present in the sample should be demonstrated. 1st Parag. CRS should be used in comparison with the response obtained for the analyte, in accordance with Chapter III. 2nd Parag. In order to demonstrate selectivity of the identification methods, the tests should be applied to substances which are structurally similar to the analyte, with the acceptance criterion being accomplishment of a negative result. 3rd Parag. For active pharmaceutical ingredients of vegetable origin and medicinal products containing them, the ability of the method to distinguish the material of interest from other similar plant species should be demonstrated, especially from those that may be present as adulterants or substituents. 4th Parag. To achieve the required level of selectivity, a combination of two or more analytical methods of identification may be necessary. Art. 21 For quantitative methods and limit tests, selectivity should be demonstrated by proving that the analytical response is due exclusively to the analyte, without interference of diluent, matrix, impurities or degradation products. 1st Parag. To demonstrate absence of interference from degradation products, it is necessary to expose the sample to degradation conditions within a wide range of pH, oxidation, heat and light. 2nd Parag. Exempted from the demonstration described in 1st Parag. are the following cases: I.- products for which adequacy to the resolution establishing parameters for notification, identification, and qualification of degradation products in medicinal products has been demonstrated; II.- performance methods; III.- non-chromatographic methods. 3rd Parag. The use of a method with technical limitation for selectivity, under the caput, is only accepted with a joint technical and application justification of another complementary method. Art. 22 For medical gases, selectivity should be demonstrated by comparing the result of the sample reading and the response of reading of CRS in accordance with the Chapter III. Sole paragraph. The maximum value of a possible interference should be justified. |  | 3.1 Specificity/Selectivity 3.1.1 General Considerations The specificity or selectivity of an analytical procedure can be demonstrated through absence of interference or comparison of results to an orthogonal procedure. In some cases, specificity/selectivity may be inherently given by the underlying scientific principles of the analytical procedure. Some experiments can be combined with accuracy studies. Selectivity could be demonstrated when the analytical procedure is not specific. However, the test for an analyte to be identified or quantitated in the presence of potential interference should minimise that interference and demonstrate that the analytical procedure is fit for the intended purpose. Where one analytical procedure does not provide sufficient discrimination, a combination of two or more procedures is recommended to achieve the necessary specificity/selectivity. 3.1.1.1 Absence of Interference Specificity/selectivity can be shown by demonstrating that the identification and/or quantitation of an analyte is not impacted by the presence of other substances (e.g., impurities, degradation products, related substances, matrices, or other components likely to be present). 3.1.1.2 Orthogonal Procedure Comparison Specificity/selectivity can be verified by demonstrating that the measured result of an analyte is comparable to the measured result of a second, well characterised analytical procedure that ideally applies a different measurement principle. 3.1.1.3 Technology Inherent Justification In some cases where the specificity of the analytical technology can be ensured and predicted by technical parameters (e.g., resolution of isotopes in mass spectrometry, chemical shifts in NMR spectroscopy), additional experimental studies may not be required, if justified. 3.1.2 Recommended Data 3.1.2.1 Identification For identification tests, a critical aspect is to demonstrate the capability to identify the analyte of interest based on unique aspects of its molecular structure and/or other specific properties. The capability of an analytical procedure to identify an analyte can be confirmed by obtaining positive results comparable to a reference material using samples containing the analyte, along with negative results from samples which do not contain the analyte. In addition, the identification test should be applied to materials structurally similar to or closely related to the analyte to confirm that a positive result is not obtained. The choice of such potentially interfering materials should be based on scientific judgement with a consideration of interferences that could occur. 3.1.2.2 Assay, Purity and Impurity Test(s) The specificity/selectivity of an analytical procedure should be demonstrated to fulfil the accuracy requirements for the content or potency of an analyte in the sample. Representative data (e.g., chromatograms, electropherograms, spectra, biological response) should be used to demonstrate specificity and relevant components should be labelled, if appropriate. For separation techniques, suitable discrimination should be investigated at an appropriate level (e.g., for critical separations in chromatography, specificity can be demonstrated by the resolution of the two components which elute closest to each other). Alternatively, spectra of different components could be compared to assess the possibility of interference. For non-separation techniques (e.g., bioassay, ELISA, qPCR), specificity can be demonstrated through the use of reference materials or other suitably characterised materials to confirm the absence of interference in relation to the analyte. In cases where the analyte is a process-related impurity, specificity (non-interference) must also be confirmed against the product. In case a single procedure is not considered specific or sufficiently selective, an additional procedure should be used to ensure adequate discrimination. For example, where a titration is used to assay a drug substance for release, the combination of the assay and a suitable test for impurities may be used. Impurities or related substances are available or can be intentionally created: For assay or potency, discrimination of the analyte in the presence of impurities and/or excipients should be demonstrated. Practically, this can be performed by spiking product with appropriate amounts of impurities and consequently demonstrating that the assay result is unaffected by the presence of these materials (e.g., by comparison with the assay result obtained on unmanipulated samples). Alternatively, samples containing appropriate amounts of impurities could be generated through deliberate stressing of product materials. For a purity or impurity test, discrimination can be established by stressing or spiking product to achieve appropriate levels of impurities or related substances and demonstrating the absence of interference. Impurities or related substances are not available: If impurities, related substances or degradation products cannot be prepared or isolated, specificity can be demonstrated by comparing the test results of samples containing typical impurities, related substances or degradation products with an orthogonal procedure. The approach taken should be justified. | Although Articles 19–22 of RDC 166 are conceptually aligned with the scientific principles described in ICH Q2(R2) for demonstrating specificity or selectivity, the Brazilian regulation adopts a more prescriptive and operational approach. Both frameworks require evidence that the analytical method can identify or quantify the analyte in the presence of potential interfering substances such as impurities, degradation products, and matrix components. However, the ICH guideline is intentionally principle-based and allows flexibility in how selectivity is demonstrated, including approaches such as orthogonal methods, scientific justification based on the analytical technology, or targeted experimental design. In contrast, RDC 166 establishes more explicit procedural expectations, such as the requirement to demonstrate chromatographic peak purity, the explicit use of forced degradation conditions to assess interference from degradation products, and specific provisions for certain product categories. While these requirements can increase clarity and consistency in regulatory assessment, they may also limit methodological flexibility and create challenges for multinational companies whose validation strategies are designed according to ICH principles. As a result, even when the scientific intent is equivalent, the documentation prepared under global ICH-based development programs may require adaptation to fully meet the more detailed expectations established by RDC 166. ICH introduces a concept that does not appear in RDC 166: Technology Inherent Justification. The guideline states that, in some cases, selectivity may be intrinsic to the analytical technology itself, for example in mass spectrometry (mass resolution) or NMR (chemical shifts). In such situations, additional experimental studies may not be necessary, provided that an adequate scientific justification is presented. ICH also describes the concept of Orthogonal Procedure Comparison, meaning that selectivity may be demonstrated when the result obtained is comparable to that obtained using another well-characterized analytical method, ideally based on a different measurement principle. This concept is frequently applied in areas such as biological products, spectroscopic methods, and potency assays. ICH further explicitly states that, for separation techniques, specificity can be demonstrated by the resolution of the two components that elute closest to each other. In other words, selectivity may be demonstrated through critical chromatographic resolution, and not necessarily through peak purity evaluation. ICH therefore accepts demonstration of selectivity based on the resolution between critical peaks. When impurities cannot be isolated or synthesized, ICH allows selectivity to be demonstrated through alternative approaches, such as: -comparison with an orthogonal method -comparison with samples containing typical impurities -a scientifically justified approach This situation is relatively common in cases such as: -new APIs, or -unstable degradant impurities RDC 166 does not address this scenario with the same level of clarity. ICH also notes that some validation experiments may be combined with accuracy studies. A common example is the combined evaluation of accuracy and specificity using spiked samples. This type of integrated validation approach is not explicitly described in RDC 166.
CHAPTER IV ANALYTICAL VALIDATION PARAMETERS Linearity | Art. 23 The linearity of a method should be demonstrated through its ability in obtaining analytical responses directly proportional to the concentration of an analyte in a sample. Art. 24 A linear relationship should be evaluated across the range established for the method. Art. 25 To establish linearity, at least 5 (five) different concentrations of CRS for the prepared solutions must be prepared, at least in triplicate. Sole paragraph. The solutions used to evaluate the linearity should be prepared independently, and diluted solutions from the same solution of CRS can be used. Art. 26 All the calculations for evaluation of linearity should be made based on actual concentration data and individual analytical responses. Art. 27 For evaluation of linearity, the following data should be provided: I.- graphical representation of responses as a function of the analyte concentration; II.- residual scatter plot together with its statistical evaluation; III.- equation of the regression line of y on x, estimated by the method of least squares; IV.- evaluation of the linear association between the variables by means of correlation (r) and determination (r²) coefficients; V.- evaluation of the significance of the angular coefficient. 1st Parag. The homoscedasticity of data for using the appropriate model should be investigated. 2nd Parag. For statistical tests, a significance level of 5% (five percent) should be used. 3rd Parag. The correlation coefficient should be above 0.990. 4th Parag. The angular coefficient should be significantly different from zero. |  | 3.2.2 Response 3.2.2.1 Linear Response A linear relationship between analyte concentration and response should be evaluated across the range of the analytical procedure to confirm the suitability of the procedure for the intended purpose. The response can be demonstrated directly on the product or suitable reference materials, separate weighings of analyte, or predefined mixtures of the components (e.g., by dilution of a solution of known content), using the proposed procedure. Linearity can be evaluated with a plot of signals as a function of analyte concentration or content, and should demonstrate the analytical procedure capability across a given range to obtain values that are proportional to the true (known or theoretical) sample values. Test results should be evaluated by an appropriate statistical method (e.g., by calculation of a regression line by the method of least squares). Data derived from the regression line may help to provide mathematical estimates of the linearity. A plot of the data, the correlation coefficient or coefficient of determination, y-intercept and slope of the regression line should be provided. An analysis of the deviation of the actual data points from the regression line is helpful for evaluating linearity (e.g., for a linear response, the impact of any non-random pattern in the residuals plot from the regression analysis should be assessed). To assess linearity during validation, a minimum of five concentrations appropriately distributed across the range is recommended. The measured data can be mathematically transformed if necessary (e.g., through the use of a log function). Other approaches to the assessment of linearity should be justified. 3.2.2.2 Non-linear Response Some analytical procedures may show non-linear responses. In these cases, a model or function which can describe the relationship between the activity/concentration present and the response of the analytical procedure is necessary. The suitability of the model should be assessed by means of non-linear regression analysis (e.g., coefficient of determination). For example, immunoassays or cell-based assays may show an S-shaped response. S-shaped test curves occur when the range of concentrations is wide enough that responses are constrained by upper and lower asymptotes. Common models used in this case are four- or five-parameter logistic functions, though other acceptable models exist. For these analytical procedures, the evaluation of linearity is separate from consideration of the shape of the concentration-response curve. Thus, linearity of the concentration-response relationship is not required. Instead, analytical procedure performance should be evaluated across a given range to obtain values that are proportional to the true (known or theoretical) sample values. 3.2.2.3 Multivariate Calibration Algorithms used for construction of multivariate calibration models can be linear or non-linear, as long as the model is appropriate for establishing the relationship between the signal and the quality attribute of interest. The accuracy of a multivariate procedure is dependent on multiple factors, such as the distribution of calibration samples across the calibration range and the reference analytical procedure error. In multivariate analysis, the measured data are commonly pre-treated through derivatives or normalisation. Linearity assessment, apart from comparison of reference and predicted results, should include information on how the analytical procedure error (residuals) changes across the calibration range. Graphical plots can be used to assess the residuals of the model prediction across the working range. | The linearity requirements in RDC 166 and Guide 10 are significantly more prescriptive than the ICH Q2(R2) approach, which is intentionally more principle-based and risk-based. Because of that difference, companies validating methods according to ICH frequently had to repeat the linearity study to meet Brazilian regulatory expectations, particularly due to requirements on replicates, statistical testing, and homoscedasticity assessment. Guide 10 explicitly requires evaluation of statistical assumptions such as independence of measurements, homoscedasticity, residual analysis, and ANOVA, and even recommends specific statistical tests (e.g., Cochran test for homoscedasticity and ANOVA to confirm the regression significance) . This level of statistical prescription goes far beyond what is typically required by ICH. Because the CP intends to align the regulation with ICH, the sector should request clarification from Anvisa during the consultation regarding how the Agency will interpret linearity evaluation under the new framework. The most critical points to clarify include the following. whether replicate requirements for linearity studies will remain prescriptive, or become flexible and risk-based; whether formal homoscedasticity testing (e.g., Cochran test) will continue to be expected; whether the minimum correlation coefficient criterion (r ≥ 0.990) will remain mandatory; and how the Agency intends to evaluate linearity studies generated under ICH-aligned validation strategies already used globally.
CHAPTER IV ANALYTICAL VALIDATION PARAMETERS Matrix effect | Matrix effect Art. 28 The provisions of this section apply to complex matrices. Art. 29 The matrix effect should be determined by means of a comparison between the angular coefficients of the calibration curves constructed with the CRS of the analyte in solvent and with the sample fortified with the CRS of the analyte. Sole paragraph. The curves should be established in the same way as in linearity for the same levels of concentration, using at least 5 (five) different concentrations and at least in triplicate. Art. 30 The parallelism of the lines is indicative of absence of interference of the matrix components, and its demonstration should be performed by means of an appropriate statistical evaluation. Sole paragraph. A significance level of 5% (five percent) for the test of hypotheses should be adopted. |  | Section 3.1.1.1 Absence of Interference Specificity/selectivity can be shown by demonstrating that the identification and/or quantitation of an analyte is not impacted by the presence of other substances (e.g., impurities, degradation products, related substances, matrices, or other components likely to be present). Section 3.1.2.2 Assay, Purity and Impurity Tests (...) discrimination of the analyte in the presence of impurities and/or excipients should be demonstrated. Practically, this can be performed by spiking product with appropriate amounts of impurities and demonstrating that the assay result is unaffected. | triplicate?
CHAPTER IV ANALYTICAL VALIDATION PARAMETERS Working range | Working range Art. 31 The working range should be established based on the studies of linearity, along with the results of precision and accuracy, being dependent on the intended application. Art. 32 The following working ranges should be considered: I.- for content: from 80% (eighty percent) to 120% (one hundred and twenty percent); II.- for uniformity of content: from 70% (seventy percent) to 130% (one hundred and thirty percent); III.- for dissolution test: from -20% (minus twenty percent) of the lowest expected concentration to +20% (plus twenty percent) of the highest expected concentration based on the dissolution profile; and IV.- for determination of impurities: from limit of quantification to 120% (one hundred and twenty percent) of the concentration at the limit of specification from each individual impurity; V.- for simultaneous determination of content and impurities by the procedure of area normalization: from limit of quantification (LQ) to 120% (one hundred and twenty percent) of the active substance expected concentration. 1st Parag. Working ranges greater than those defined in the caput may be used if technically justified. 2nd Parag. For medical gases, alternative working ranges will be accepted, provided that the approach for the choice of range is justified. |  | 3.2 Range 3.2.1 General Considerations The range of an analytical procedure is the interval between the lowest and the highest results in which the analytical procedure has a suitable level of response, accuracy and precision. The range can be validated through the direct assessment of reportable results (to generate a reportable range) using an appropriate calibration model (i.e., linear, non-linear, multivariate). In some cases, the reportable range can be determined using one or more appropriate working ranges, depending on the sample preparation (e.g., dilutions) and the analytical procedure selected. Typically, a working range corresponds to the lowest and the highest sample concentrations or purity levels presented to the analytical instrument for which the analytical procedure provides reliable results. Mathematical calculations are typically required to generate reportable results. Reportable range and working range could be identical. In cases where materials of sufficient purity (or containing sufficient amounts of impurities) to validate the full range (e.g., 100% purity) cannot be generated, extrapolation of the reportable range may be appropriate and should be justified. Check Table 2 for dissolution and purity area | The specific approach for defining the validated range for dissolution methods described in ICH Q2(R2), such as the use of limits based on Q − 45% of the lowest strength and 130% of the declared content of the highest strength, is not explicitly described in RDC 166. The Brazilian regulation provides only a general definition of range, stating that it corresponds to the interval between the upper and lower concentrations of analyte for which the analytical method demonstrates adequate precision, accuracy, and linearity. In contrast, ICH introduces a more detailed and product-specific framework for dissolution methods, linking the validated range to the dissolution specification (Q), the product strengths, and the reportable limits of the method. Clarification would therefore be beneficial on whether Anvisa intends to adopt the ICH approach for establishing dissolution ranges, particularly in cases where the ICH calculation leads to validation ranges different from those traditionally used under RDC 166.
CHAPTER IV ANALYTICAL VALIDATION PARAMETERS Precision | Precision Art. 33 Precision should assess the closeness between the results obtained by means of tests on samples prepared as described in the analytical method to be validated. Art. 34 Precision should be expressed through repeatability, intermediate precision or reproducibility. Art. 35 Precision should be demonstrated by the dispersion of results, calculating the relative standard deviation (RSD) of the series of measurements according to the formula "RSD=(SD/DMC)X100", where SD is the standard deviation and DMC, the determined mean concentration. Art. 36 Samples for assessment of precision should be prepared independently since the beginning of the procedure outlined in the method. Sole paragraph. In the case of solid and semisolid samples, the use of dilute solutions of the same mother solution is not accepted. Art. 37 When the precision evaluation involves contamination of the matrix with a very low amount of substance, which makes impossible the direct weighing, a concentrated solution of the substance may be used, followed by the procedure described in the analytical method for extraction and dilution of the sample. 1st Parag. In the case of missing or present known impurities in concentrations lower than the limit of specification in the sample, this should be fortified with known concentrations of the standard of impurities. 2nd Parag. In the case of unknown impurities, the sample should be evaluated using the response of active added to the matrix in the concentration corresponding to the limit of the specification established for the impurity, as long as the same response factor to impurity and active is considered. Art. 38 Determination of repeatability should meet the following criteria: I - assess the samples under the same work conditions, same analyst and same instrumentation, in one single analytical run. II - use at least 9 (nine) measurements, including the linear range of the analytical method, i.e. 3 (three) concentrations: low, medium and high, with 3 (three) replicates in each level, or 6 (six) replicates at 100% (one hundred percent) of the test concentration individually prepared. Art. 39 The acceptance criteria should be defined and justified in accordance with the following aspects: I – objective of the method; II - intrinsic variability of the method; III – work concentration; and IV – concentration of analyte in the sample. Art. 40 Determination of intermediate precision should meet the following criteria: I.- express the closeness between the results obtained from the analysis of a same sample, in the same lab, in at least two different days, performed by different operators; and II - include the same concentrations and the same number of measurements described when assessing repeatability. Art. 41 Reproducibility should be obtained through the closeness of the results obtained in different laboratories. 1st Parag. Reproducibility is applicable in collaborative studies or in standardization of analytical methods for their inclusion in official compendia, using appropriate statistical tests. 2nd Parag. The acceptance criteria for the relative standard deviation should be justified as stated in art. 39. |  | 3.3.2 Precision Validation of tests for assay and for quantitative determination of impurity (purity) includes an investigation of precision. Precision should be investigated using authentic homogeneous samples or, if unavailable, artificially prepared samples (e.g., spiked matrix mixtures or samples enriched with relevant amounts of the analyte in question). 3.3.2.1 Repeatability Repeatability should be assessed using: a) a minimum of 9 determinations covering the reportable range for the procedure (e.g., 3 concentrations/3 replicates each) or b) a minimum of 6 determinations at 100% of the test concentration. GLOSSARY INTERMEDIATE PRECISION Intermediate precision expresses intra-laboratory variations. Factors to be considered should include potential sources of variability, for example, different days, different environmental conditions, different analysts and different equipment. (ICH Q2) 3.3.2.2 Intermediate Precision The extent to which intermediate precision should be established depends on the circumstances under which the procedure is intended to be used. The applicant should establish the effects of random events on the precision of the analytical procedure. Typical variations to be studied include different days, environmental conditions, analysts and equipment, as relevant. Ideally, the variations tested should be based on and justified by using analytical procedure understanding from development and risk assessment (ICH Q14). Studying these effects individually is not necessary. The use of design of experiments studies is encouraged. 3.3.2.3 Reproducibility Reproducibility is assessed by means of an inter-laboratory trial. Investigation of reproducibility is usually not required for regulatory submission but should be considered in cases of standardisation of an analytical procedure, for instance, for inclusion of procedures in pharmacopoeias and in cases where analytical procedures are conducted at multiple sites. 3.3.2.4 Recommended Data The standard deviation, relative standard deviation (coefficient of variation), and an appropriate 100(1-α) % confidence interval (or justified alternative statistical interval) should be reported. The observed interval should be compatible with the corresponding precision acceptance criteria, unless otherwise justified. Additionally, for multivariate analytical procedures, the routine metrics of RMSEP encompass accuracy and precision. 3.3.3 Combined Approaches for Accuracy and Precision An alternative to separate evaluation of accuracy and precision is to consider their total impact by assessing against a combined performance criterion. Data generated during development may help determine the best approach and refine appropriate performance criteria to which combined accuracy and precision are compared. Combined accuracy and precision can be evaluated by use of a prediction interval, a tolerance interval or a confidence interval. Other approaches may be acceptable if justified. 3.3.3.1 Recommended Data If a combined performance criterion is chosen, results should be reported as a combined value to provide appropriate overall knowledge of the suitability of the analytical procedure. If relevant to justify the suitability of the analytical procedure, the individual results for accuracy and precision should be provided as supplemental information. The approach used should be described.
CHAPTER IV ANALYTICAL VALIDATION PARAMETERS Accuracy | Accuracy Art. 42 Accuracy of an analytical method should be obtained through the agreement level between the individual results of the method being studied in relation to a value accepted as true. Art. 43 Accuracy should be assessed based on at least 9 (nine) measurements, including the linear range of the analytical method, i.e. 3 (three) concentrations: low, medium and high, with 3 (three) replicates in each level. Art. 44 Samples for evaluation of accuracy should be prepared independently, and diluted solutions of the same solution of CRS can be used. Art. 45 For determination of accuracy, the most appropriate approach according to the analytical procedure should be used: I.- for API: a) apply the proposed method using a pure known substance (CRS); b) compare the results obtained with the ones resulting from a second validated method, which accuracy has been established; or c) in the case of an analyte within a complex matrix, perform analysis by the method of addition of CRS in which known amounts of the CRS are added to the sample. II.- for finished product: a) apply the proposed method in the analysis of a sample, in which a known amount of CRS was added to the matrix; b) upon non-availability of samples of all the constituents of the medicinal product, the analysis can be performed by the method of adding CRS, in which known amounts of CRS are added to the solution of the finished product; or c) compare the obtained results with those resulting from a second validated method. III.- for impurities: a) apply the method of addition of standard, in which known amounts of impurities or degradation products are added to the sample; b) upon non-availability of samples of some impurities or degradation products, the comparison of the obtained results with a second validated method can be performed, and by using the response factor relative to the API; c) for unknown impurities, accuracy should be assessed by comparing the response of CRS of the API or of the known impurity, as the proposed method, in a concentration range that includes the working range of the method, since the same response factor is considered. Sole paragraph. In all cases, the calculation of the concentrations of the analytes should be the same as described in the analytical method concerned. Art. 46 The accuracy should be expressed by the percentage ratio of recovery of the analyte of known concentration added to the sample, or by the ratio between the mean concentration, experimentally determined, and the corresponding theoretical concentration, given by the formula 1 of Annex II. Sole paragraph. When accuracy is determined from a previously validated method, replacing the term “theoretical concentration” for the concentration of the analyte determined should be considered. Art. 47 The relative standard deviation (RSD) should be calculated to each concentration. Art. 48 The acceptance criteria for the recovery percentages and the relative standard deviation should be justified as stated in art. 39. |  | GLOSSARY ACCURACY The accuracy of an analytical procedure expresses the closeness of agreement between the value which is accepted either as a conventional true value or as an accepted reference value and the value or set of values measured. (ICH Q2) 3.3 Accuracy and Precision Accuracy and precision can be evaluated independently, each with a predefined acceptance criterion. Alternatively, accuracy and precision can be evaluated in combination. 3.3.1 Accuracy Accuracy should be established across the reportable range of an analytical procedure and is typically demonstrated through comparison of the measured results with expected values. Accuracy should be demonstrated under regular test conditions of the analytical procedure (e.g., in the presence of sample matrix and using described sample preparation steps). Accuracy is typically verified through one of the studies described below. In certain cases, accuracy can be inferred once precision, response within the range and specificity have been established. 3.3.1.1 Reference Material Comparison The analytical procedure is applied to an analyte of known purity (e.g., a reference material, a well characterised impurity or a related substance) and the measured versus theoretically expected results are evaluated. 3.3.1.2 Spiking Study The analytical procedure is applied to a matrix of all components except the analyte where a known amount of the analyte of interest has been added. In cases where all the expected components are impossible to reproduce, the analyte can be added to or enriched in the test sample. The results from measurements on unspiked and spiked/enriched samples are evaluated. 3.3.1.3 Orthogonal Procedure Comparison The results of the proposed analytical procedure are compared with those of an orthogonal procedure. The accuracy of the orthogonal procedure should be reported. Orthogonal procedures can be used with quantitative impurity measurements to verify primary measurement values in cases where obtaining samples of all relevant components needed to mimic the matrix for spiking studies is not possible. 3.3.1.4 Recommended Data Accuracy should be assessed using an appropriate number of determinations and concentration levels covering the reportable range (e.g., 3 concentrations/3 replicates each of the full analytical procedure). Accuracy should be reported as the mean percent recovery of a known added amount of analyte in the sample or as the difference between the mean and the accepted true value, together with an appropriate 100(1-α) % confidence interval (or justified alternative statistical interval). The observed interval should be compatible with the corresponding accuracy acceptance criteria, unless otherwise justified. For impurity tests, the approach for the determination of individual or total impurities should be described (e.g., weight/weight or area percent with respect to the major analyte). For quantitative applications of multivariate analytical procedures, appropriate metrics, e.g., root mean-squared error of prediction (RMSEP), should be used. If RMSEP is found to be comparable to acceptable root mean-squared error of calibration (RMSEC) then this indicates that the model is sufficiently accurate when tested with an independent test set. Qualitative applications such as classification, misclassification rate or positive prediction rate can be used to characterise accuracy.
CHAPTER IV ANALYTICAL VALIDATION PARAMETERS Limit of detection | Limit of detection Art. 49 The limit of detection should be demonstrated by obtaining the least amount of analyte present in a sample which can be detected, but not necessarily quantified, under the established experimental conditions. Art. 50 Determination of the detection limit can be accomplished through visual method, signal-to-noise ratio, based on determination of blank or with the calibration curve parameters, taking on account the particularities of the used analytical method. Art. 51 For the visual methods, the limit of detection is determined by the lowest concentration to which it is possible to note the expected visual effect. Art. 52 For the instrumental methods, the limit of detection can be determined by the signal-to-noise ratio. 1st Parag. The method used for determination of the signal-to-noise ratio should be described and justified. 2nd Parag. The signal-to-noise ratio should be greater than or equal to 2:1. Art. 53 For the determination based on the analytic curve parameters, the detection limit can be calculated by the formula 2 of annex II. Art. 54 In cases where an estimated value for the limit of detection is obtained by calculation or extrapolation, this estimate should be confirmed as in art. 52. |  | 3.2.3 Validation of Lower Range Limits If the quality attribute to be measured requires the range of an analytical procedure to be close to the lower range limits of the procedure, detection limit (DL) and quantitation limit (QL), can be estimated using the following approaches. 3.2.3.1 Based on Visual Evaluation Visual evaluation can be used for both non-instrumental and instrumental procedures. The limit is determined by the analysis of samples with known concentrations and by establishing the minimum level at which the analyte can be reliably resolved and detected or quantitated. 3.2.3.2 Based on Signal-to-Noise This approach is relevant for analytical procedures which exhibit baseline noise. Determination of the signal-to-noise ratio is performed by comparing measured signals from samples with known low concentrations of analyte with those of blank samples. Alternatively, signals in an appropriate baseline region can be used instead of blank samples. The DL or QL are the minimum concentrations at which the analyte can be reliably detected or quantitated, respectively. A signal-to-noise ratio of 3:1 is generally considered acceptable for estimating the DL. For QL, a ratio of at least 10:1 is considered acceptable. The signal-to-noise ratio should be determined within a defined region and, if possible, situated equally around the place where the peak of interest would be found. 3.2.3.3 Based on the Standard Deviation of a Linear Response and a Slope The detection limit (DL) can be expressed as: 𝐷𝐿=3.3𝜎𝑆 while the quantitation limit (QL) can be expressed as: 𝑄𝐿=10𝜎𝑆 where σ = the standard deviation of the response S = the slope of the calibration curve The slope S can be estimated from the regression line of the analyte. The estimate of σ can be carried out in a variety of ways, for example: Based on the Standard Deviation of the Blank Measurement of the magnitude of background response is performed by analysing an appropriate number of blank samples and calculating the standard deviation of the responses. Based on the Calibration Curve A specific calibration curve should be evaluated using samples containing an analyte in the range of the DL and QL. The residual standard deviation of a regression line (i.e., root mean square error/deviation) or the standard deviation of y-intercepts of the regression lines can be used as the standard deviation. 3.2.3.4 Based on Accuracy and Precision at Lower Range Limits Instead of using estimated values as described in the previous approaches, the QL can be directly validated by accuracy and precision measurements. 3.2.3.5 Recommended Data The DL and the approach used for its determination should be presented. If the DL is determined based on visual evaluation or based on signal-to-noise ratio, the presentation of the relevant data is considered an acceptable justification. In cases where an estimated value for the DL is obtained by calculation or extrapolation, this estimate can subsequently be validated by the independent analysis of a suitable number of samples known to be near or prepared at the DL. The QL and the approach used for its determination should also be presented. If the QL was estimated, the limit should be subsequently validated by the analysis of a suitable number of samples known to be near or at the QL. In cases where the QL is well below (e.g., approximately 10 times lower than) the reporting limit, this confirmatory validation can be omitted with justification. For impurity tests, the QL for the analytical procedure should be equal to or below the reporting threshold.
CHAPTER IV ANALYTICAL VALIDATION PARAMETERS Limit of quantification | Limit of quantification Art. 55 The limit of quantification is the lowest amount of analyte in a sample which can be determined with acceptable precision and accuracy under the established experimental conditions. Art. 56 The limit of quantification should be consistent with the limit for the impurity specification. Sole paragraph. For products suited to the resolution establishing parameters for reporting, identification, and qualification of degradation products in medicinal products, the limit of quantification should be lower than or equal to the reporting limit. Art. 57 For the determination of this parameter, the same procedure described in art. 53 should be followed, and the signal-to-noise ratio should be at least 10:1. Art. 58 For the determination based on the analytic curve parameters, the quantification limit can be calculated by the formula 3 of annex II. Art. 59 In cases where an estimated value for the limit of quantification is obtained by calculation or extrapolation, this estimate should be confirmed as in art. 57. Art. 60 The precision and accuracy should be tested at the concentrations corresponding to the limit of quantification.
CHAPTER IV ANALYTICAL VALIDATION PARAMETERS Robustness | Robustness Art. 61 Robustness is a parameter typically performed in the development of an analytical method that indicates its ability in resisting to small and deliberate variations in the analytical conditions. Sole paragraph. If there is sensitivity of the method to changes in the analytical conditions, these should be controlled through the precautions described in the method. Art. 62 In the case of quantitative methods, the impact of proposed changes on the obtained results should be assessed with the same criteria used for accuracy. Art. 63 In the case of qualitative methods, it should be checked whether the proposed changes interfere with the analytical response. Art. 64 Compliance to the characteristics of the checking system should be demonstrated. Art. 65 The evaluation of the parameters described in Table 1 of annex III should be included in the validation report. 1st Parag. Parameters that are considered relevant to the result, according to the characteristics of the method, should be additionally assessed. 2nd Parag. The absence of any of the changes should be justified. |  | 3.4 Robustness The evaluation of the analytical procedure’s suitability within the intended operational environment should be considered during the development phase and depends on the type of procedure under study. Robustness testing should show the reliability of an analytical procedure in response to deliberate variations in analytical procedure parameters, as well as the stability of the sample preparations and reagents for the duration of the procedure, if appropriate. The robustness evaluation can be submitted as part of development data for an analytical procedure on a case-by-case basis or should be made available upon request.
CHAPTER V TRANSITORY PROVISIONS | Art. 66 Analytical method validations will be accepted in accordance with Resolution RE no. 899/2003, provided that they have been terminated prior to the expiration of this resolution and petitions containing them have been filed up to 550 (five hundred and fifty) calendar days after the term of this resolution. 1st Parag. If execution and resubmission of one or more parameters of validation is required, provided that not necessary to submit a new validation, the company can follow the Resolution RE no. 899, dated May 29, 2003. 2nd Parag. If execution and submission of a new validation is required, the company will follow the present resolution. 3rd Parag. After the time limit established in the caput, for products under investigation which analytical method validation used in clinical development has been initiated before this regulation was entered into force, at the time of registration will be accepted the analytical validations performed in accordance with the Resolution RE no. 899, dated May 29, 2003. | CHAPTER III FINAL AND TRANSITIONAL PROVISIONS Art. 12. Collegiate Board Resolution – RDC No. 166 of July 24, 2017, published in the Official Gazette of the Union on July 25, 2017, is hereby repealed. Sole paragraph. For the purposes of regulatory submissions, validations of analytical procedures conducted in accordance with Collegiate Board Resolution – RDC No. 166/2017, initiated within 360 (three hundred and sixty) days after the entry into force of this Resolution, will be accepted. Art. 13. This Resolution shall enter into force on the date of its publication. DIRECTOR-PRESIDENT
CHAPTER VI FINAL PROVISIONS | Art. 67 Documentation and additional tests may be requested at any time by Anvisa. Art. 68 All the relevant data obtained during conduction of the analytical validation, as well as the formulas used for calculating, should be filed along with the relevant petition, in order to be evaluated by Anvisa. Art. 69 Non-compliance with the provisions contained in this resolution constitutes a health violation, pursuant to Law No. 6437, dated August 20, 1977, without prejudice to the applicable civil and criminal responsibilities. Art. 70 Revoked are Resolution RE no. 899, dated May 29, 2003; item XXXI of art. 1; sole paragraph of art. 11, and annex I of Resolution RDC no. 31, dated August 11, 2010. Art. 71 This resolution should enter into force within 180 (one hundred and eighty) calendar days from the date of its publication. |  |  | The requirement described in Article 68 does not appear to be fully aligned with the CTD structure, in which analytical validation is typically summarized in the dossier (e.g., Module 3) while detailed raw data, calculations, and supporting documentation are maintained by the company and made available upon request during inspections or regulatory review. Requiring that all relevant validation data and calculation formulas be submitted with the petition may therefore create practical challenges, particularly for contract manufacturing organizations (CMOs). In many cases, CMOs operate under established supplier qualification systems and GMP agreements, where validation reports, raw data, and calculation details are maintained within the quality system of the manufacturer and are subject to GMP oversight and audits. The expectation that all underlying data be included in the regulatory submission could lead to unnecessary duplication of documentation and operational complexity, without necessarily adding value to the scientific evaluation of the method. Clarification would therefore be beneficial to confirm whether the submission of summarized validation reports consistent with the CTD format would be acceptable, with full datasets maintained by the company and available to Anvisa upon request or inspection.
ANNEX I - Table 1 (Parameters to be considered in the analytical validation) | Accuracy Precision Repeatability Intermediate precision Selectivity Limit of detection Linearity Interval (1) In cases in which reproducibility was conducted, it is not necessary to conduct intermediate precision. (2) In the case of identification tests, combination of two or more analytical procedures may be required to achieve the necessary level of discrimination. (3) It may be required in some cases. *Evaluation parameters are the same for both RDC 166 and ICH |  | Table 1
ANNEX II - Accuracy calculation |  |  | 3.2.3.3 Based on the Standard Deviation of a Linear Response and a Slope The detection limit (DL) can be expressed as: 𝐷𝐿=3.3𝜎𝑆 while the quantitation limit (QL) can be expressed as: 𝑄𝐿=10𝜎𝑆 where σ = the standard deviation of the response S = the slope of the calibration curve
ANNEX III Robustness conditions